## Slide 1
DC2Wire Non Polarity output of E2A
E2A has DC2W non polarity output type in series.
It’s not needed to care about cable color!
Mar. 2005 OEE SenBU KT

## Slide 2
+V
GND
+V
GND
DC2W
One sensor for both circuit!!
load
load
+V / GND
GND / +V
load
Main circuit
Both cable color  Black
DC2W non polarity circuit
Reduce cable color concerning time!!
Mar. 2005 OEE SenBU KT

## Slide 3
GND
+V
Residual voltage (at ON state)
Leakage current (at OFF state)
load
=5.0V (2m cable, 100mA)
=0.8mA
Load must be work by “+V” – “Residual voltage”
Load must not be work by “Leakage current”
Check!!
Mar. 2005 OEE SenBU KT