## Slide 1
Mutual Interference Prevention
E2A has Mutual Interference Prevention type!!
Called “Different frequency type”
“Different frequency type” can be mount close to standard type.
Mar. 2005 OEE SenBU KT

## Slide 2
Magnetic flux
Magnetic flux from each sensor have interference.
Only in case of same oscillation frequency.
Mar. 2005 OEE SenBU KT

## Slide 3
0mm
Combination only by standard type.
Combination by standard and different frequency type.
Standard type
Different frequency type
OMRON Prox have enough margin from real test result, please ask to OEE-SenBU.
Mar. 2005 OEE SenBU KT